
****

**SUIT reference protocol RP2\_AmR pce**

**O2k high-resolution respirometry**

2016-11-21

****

| **O2k and DatLab file: P**\_\_\_ ( A / B ) 2016- Operator:  Sample type: Cohort: Sample code:  Sample.Subsample number: Unit: Concentration:  Medium: | | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Event** | **Mark name**  **O2/Amp**  **Slope** | **Mark name**  **Amp**  **Signal** | **Final conc. 2 ml O2k** | **Stock**  **[mM]** | **Comment** | **Tit.**  **[µl]** | **A** | **B** |
| **MiR** |  |  |  |  |  |  |  |  |
| **O2** |  |  | ~200 µM |  |  |  |  |  |
| **AmR** |  |  | 10 µM | 10 |  | 2 |  |  |
| **HRP** |  |  | 1 U/ml |  | 500 U/ml stock | 4 |  |  |
| **SOD** | **0BL** |  | 5 U/ml |  | 5000 U/ml stock | 2 |  |  |
|  |  | **1HP0** | 0 |  | *Mark on Amp signal* |  |  |  |
| **HP** |  | **1HP.1** | 0.1 µM | 0.04 | *Mark on Amp signal* | 5 |  |  |
| **HP** |  | **1HP.2** | 0.2 µM | 0.04 | *Mark on Amp signal* | 5 |  |  |
| **ce** | **R** |  |  |  |  |  |  |  |
| **Dig** |  |  |  | 8.1 |  |  |  |  |
|  |  | **2HP0** | 0 |  | *Mark on Amp signal* |  |  |  |
| **HP** |  | **2HP.1** | 0.1 µM | 0.04 | *Mark on Amp signal* | 5 |  |  |
| **1D** | **1D** |  | 2.5 mM | 500 |  | 10 |  |  |
| **M.1** | **(M.1)** |  | 0.1 mM | 50 |  | 4 |  |  |
| **2Oct** | **2Oct** |  | 0.5 mM | 100 |  | 10 |  |  |
| **3M2** | **3M2** |  | 2 mM | 400 |  | 9.5 |  |  |
| **4P** | **4P** |  | 5 mM | 2000 |  | 5 |  |  |
| **5G** | **5G** |  | 10 mM | 2000 |  | 10 |  |  |
| **6S** | **6S** |  | 50 mM | 1000 |  | 100 |  |  |
|  |  | **3HP0** | 0 |  | *Mark on Amp signal* |  |  |  |
| **HP** |  | **3HP.1** | 0.1 µM | 0.04 | *Mark on Amp signal* | 5 |  |  |
| **7Gp** | **7Gp** |  | 10 mM | 1000 |  | 20 |  |  |
| **8U** | **8U** |  | Δ0.5 µM | 1 | CCCP | Δ1 |  |  |
| **9Rot** | **9Rot** |  | 0.5 µM | 1 |  | 1 |  |  |
| **10Ama** | **10Ama** |  | 2.5 µM | 5 |  | 1 |  |  |
|  |  | **4HP0** | 0 |  | *Mark on Amp signal* |  |  |  |
| **HP** |  | **4HP.1** | 0.1 µM | 0.04 | *Mark on Amp signal* | 5 |  |  |