## O2&Amp#CCP
|  | Exp. | Sample | Amount per chamber (Mill cells/chamber) | Condition | Medium | Info | DatLab 7.1 | CCP Mark Reference: |  | J°1 | 1ce | 2P | 3Omy | 4U* | 5Rot | 6Ama
0 |  | CCP | Hek cells | 2 | Cryopreserved | MiR05Cr |  | CCP |  | Total volume added (µl) |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Polarization V [mV] | Chamber volume (ml) | Concentration/ml (Mill cells/ml) | [5 empty] | Edit the volume added in each step (µl) in the yellow boxes
|  |  | 2 | 1
O2k Core | bar: 1ce to 6Ama
Edit: select cells
for reference values
[19 empty] | ETS (4U) | ROX (6Ama)
[19 empty] | 0 | 0
O2 Flux analysis
ROUTINE, R | ROUTINE | [7 empty] | O2 flow per cells | pmol/(s*Mill) |  | 0 | 0 | 0 | 0 | 0 | 0 |  | ETS´
OXPHOS, P | OXPHOS state | [7 empty] | O2 flow per cells (mt) | pmol/(s*Mill) |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
LEAK, L | LEAK state | [10 empty] | 1ce | 2P | 3Omy | 4U* | 5Rot | 6Ama |  | ETS | ROX
ETS, E | Electron transport system (ETS; uncoupled) | [7 empty] | Flux Control Ratio |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 | 0
ROX | Residual oxygen consumption (rotenone, antimycin A) | [7 empty] | Flux Control Ratio (mt) | ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Sample concentration | Mill cells/ml | bar: 1ce to 6Ama
O2k Amp | [7 empty] | Amp summary
H2O2 production | [11 empty] | 1ce | 2P | 3Omy | 4U* | 5Rot | 6Ama
Amplex UltraRed | [8 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*ml) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | H2O2 production/JO2 | no ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Amp analysis
Sensitivity [V/mM]
[11 empty] | J° | 1 (after sample) | 2 | 3 | 4 | 7 | 8
[8 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the green boxes (O to W boxes) | [9 empty] | Enter the sensitivitiy into the green boxes
[11 empty] | Calculated sensitivity | [6 empty] | The missing sensitivity values will be calculated
[11 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Correction factor for calculated sensitivity
[11 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | J° | 1ce | 2P | 3Omy | 4U* | 5Rot | 6Ama
[9 empty] | H2O2 production corrected for sensitivity decline | 0:00 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Background correction factor |  | 1 | bar: 1ce to 6Ama
[9 empty] | O2 correction factor |  | 1 | bar: 1ce to 6Ama
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*ml) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | 1ce | 2P | 3Omy | 4U* | 5Rot | 6Ama
[9 empty] | H2O2 production flux corrected for sensitivity decline, background and O2 | pmol/(s*Mill) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
DatLab 7.1 Template - Instructions | [8 empty] | Factors for sensitivity calculation |  | a | 1ce: #DIV/0!
[11 empty] | b | 1ce: #DIV/0!
Plot equation for the calculation of the correction factors (MiR05-Kit) | bar: 1ce to 2P
Graphs: - left panel (top) | O2 flow per cells, no ROX corrected. | [7 empty] | Background corr | y = 0,3866x + 0,8628 |  | 1ce: 0.8628; 2P: 0.3866
- rigth panel (top) | Flux control ratios, normalized to Electron Transport System (ETS) capacity. | [7 empty] | O2 corr | y = 0,0019x + 0,6312 |  | 1ce: 0.6312; 2P: 0.0019
- left panel (below) | H2O2 production normalized per Mill cells.
- rigth panel (below) | H2O2/JO2 (no ROX corrected).
Notes: | Fill the line 2 and 3 (yellow colored boxes) with the information about your experiment.
Guidelines: Data analysis
1. Perform the data analysis in this sheet.
2. Paste clipboard from DatLab "Mark statistics":
2A. | In DatLab: Mark the standardized sequence of experimental sections on the oxygen flux (from one chamber). In Layout --> Standard layout --> 04a Flux per volume
2B. | In DatLab: Select [F2] → select the specific chamber → In channel selection select "Oxygen, O2" → In Copy to clipboard options select in "DL-Protocol marks" (using the DL-Protocol) "Flux/flow" → click on "Copy to Clipboard".
2C. | In the Excel template O2&Amp#CCP: Click on the upper yellow cell (L4): "Paste only O2 values (Flux per V) from DatLab. Press [Ctrl+V] to paste" → press [Ctrl+V] to paste.
3. Check the values of the reference flux (ETS) in W11 and the baseline flux (ROX) for baseline correction in X11.
4. Edit the volume titrated (µl) in each step (in line 3, Q to U boxes).
5. Edit axis labels and scaling if it is necessary.
6. Paste the DatLab graphs showing the traces for the chamber:
6A. | In DatLab: Select the graph (left mouse click into the graph) → select "Graph\Copy to Clipboard\WMF"
6B. | In the Excel template: Click on the upper yellow cell (A6): "Paste DatLab graph here, reduce to width 22 cm (8 inches)." → press [Ctrl+V] to paste.
6C. | Select the graph (hold shift and sequentially left click onthe graph) → select "Format\Graph\Size" and set the width of the graphs to 22 cm (8 inches).
Amp - H2O2 production analysis
7. Copy the sensitivity values (Amp calib.) from the DatLab (from each H2O2 calibration) and paste in the green/yellow boxes (O34 to U34 boxes).
8. Paste clipboard from DatLab "Mark statistics":
8A. | In DatLab: Mark the standardized sequence of experimental sections on the Amp slope (from one chamber).
8B. | In DatLab: Select [F2] → select the specific chamber → select plot for marks: "Amp slope" → In channel selection select "Amperometric, Amp" → In Copy to clipboard options select in "DL-Protocol marks" (using the DL-Protocol) "Flux/flow" → click on "Copy to Clipboard".
8C. | In the Excel template: Click on the yellow cell (L37): "Paste Amp slope from the DatLab (use the first calibration (0.0,0.1,0.2: before sample) → press [Ctrl+V] to paste." → press [Ctrl+V] to paste.
9. Copy the Amp graph and click on the yellow cell (A28): "Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches)" → press [Ctrl+V] to paste.
10. Add the polarization voltage (Amp) used in your experiment (C4).
11. Select lines 1-52 → cut [Ctrl+X] → paste [Ctrl+V] the figure with data lines into a separate table sheet where you collect all results.
Note on C2: Enter information about your experiment.
Note on D2: Enter information about your sample.
Note on E2: Enter the concentration into the O2k chamber (Mill cells per chamber).
Note on F2: Enter information about the experimental conditions of your sample.
Note on G2: Enter the medium used in your experiment.
Note on N3: For dilution corrections, please introduce the volume added (µl) in each step (including AmR, HRP, SOD and H2O2 titrations).
Note on C4: Add information about the polarization voltage used (Amp).
Note on E4: Enter the concentration into the O2k chamber (Mill cells per chamber).
Note on L4: Paste only O2 values (Flux per V) from DatLab. Press [Ctrl+V] to paste" → press [Ctrl+V] to paste.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on M27: Baseline: fluorescence in the absence of sample.
Note on A28: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).
Note on M28: Baseline: fluorescence in the absence of sample.
Note on L39: Paste Amp slope from the DatLab (calibration 1: before sample) → press [Ctrl+V] to paste.
Note on M53: Baseline: fluorescence in the absence of sample.
Note on M56: Baseline: fluorescence in the absence of sample.