## O2_Channel&Results_A
IOC100 |  | Exp. | Sample | Conc. | Condition | Medium | Info | DatLab 6 | PCP Mark Reference: |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
2015-08-10 P2-02_CELLS_H2O2.DLD | 2B: O2 Flux per V | IOC104 | HEK 293T cells | 1.5∙106/ml | cells, Cryopreservation | MiR05
|  |  |  | Conc. Mill/ml |  |  |  | Copy only O2 values (Flux per V) from DatLab. Chamber A
|  |  |  | 1.5 |  |  |  | 2015-08-10 P2-02_CELLS_H2O2.DLD
O2k left | [8 empty] | Averages | Unit | Before | Routine | Dig | PM_L | PM_P | PGM_P
Paste DatLab graph here, reduce to width 15 cm (6 inches) | [8 empty] | Value |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Start |  | 0:36 | 0:45 | 0:53 | 1:09 | 1:15 | 1:23
[9 empty] | Stop |  | 0:41 | 0:48 | 0:56 | 1:12 | 1:17 | 1:26 |  |  |  |  | Edit: select cells
[9 empty] | N Points |  | 2976:00 | 76 | 83 | 67 | 59 | 63 |  |  |  |  | for reference values
[9 empty] | 2B: O2 Concentration | nmol/ml | 183.995 | 179.0454 | 174.5734 | 171.2436 | 168.3042 | 164.0558 |  |  |  |  | ETS' | ROX
[8 empty] | X | 2B: O2 Flux per V | pmol/(s*ml) | 0.934 | 14.2876 | 3.0559 | 3.9667 | 8.3373 | 9.1808 |  |  |  |  | 0 | 0
FCR
[23 empty] | Routine | CI | CI | CI&II | CII
[26 empty] | #DIV/0! | #DIV/0! | ETS
[23 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | OXPHOS
ROUTINE, R | ROUTINE state of cell respiration | [7 empty] | O2 Flux per cells | pmol/(s*Mill) |  | 9.5251 | 2.0373 | 2.6445 | 5.5582 | 6.1205 |  |  |  |  | ETS |  |  | #DIV/0! |  |  |  | LEAK
LEAK, L | LEAK state (oligomycin) | [7 empty] | O2 Flux per cells | ROX-corr. |  | 9.5251 | 2.0373 | 2.6445 | 5.5582 | 6.1205 |  |  |  |  | 0 |  |  | PM | PGM | PGMS | S
OXPHOS, P | OXPHOS state (ADP) | [10 empty] | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
ETS, E | Electron transport system (ETS; uncoupled) | [7 empty] | Flux Control Ratio | ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ROX | Residual oxygen consumption (rotenone, antimycin A) | [10 empty] | L/P | P/E | [9 empty] | H2O2 production
[12 empty] | 0.47578 | #DIV/0! | [9 empty] | Routine | CI | CI | CI&II | CII
[12 empty] | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama | [7 empty] | ETS
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*Mill) |  | 0.233 | 0.44628 | 0.35126 | 0.39723 | 0.37746 | [6 empty] | 0.233 | 0.39723 | 0.37746 |  |  | OXPHOS
ROS production | [8 empty] | H2O2 production (corrected for ROUTINE rate) | pmol/(s*Mill) |  | 0 | 0.21328 | 0.11826 | 0.16423 | 0.14446 | [7 empty] | 0.35126 |  |  |  | LEAK
Amplex Red | [8 empty] | ROS/JO2 | no ROX-corr. |  | 0.016308 | 0.14604 | 0.088552 | 0.047645 | 0.041114 | [7 empty] | PM | PGM | PGMS | S
O2k Amp left | [8 empty] | ROS/JO2 | ROX-corr. |  | 0.024462 | 0.21906 | 0.13283 | 0.071467 | 0.061671
Paste DatLab graph here, reduce to width 15 cm (6 inches) | [8 empty] | ROS/JO2 (corrected for ROUTINE rate) | no ROX-corr. |  | 0 | 0.069793 | 0.029813 | 0.019698 | 0.015735
H2O2 production / O2
[23 empty] | Routine | CI | CI | CI&II | CII
ETS
[23 empty] | 0.024462 | 0.071467 | 0.061671 |  |  | OXPHOS
[24 empty] | 0.13283 |  |  |  | LEAK
[24 empty] | PM | PGM | PGMS | S

## Amp_Channel_A
Chamber A. Amp
Sensitivity [V/mM] | [8 empty] | Correction factor
|  | Before cells | Dig | ADP | U | Ama |  |  | Before cells | Dig | ADP | U | Ama
Copy the sensitivity from the DatLab (from each H2O2 calibration) | 100 mV | 0.4886 | 0.2667 | 0.2884 |  |  |  |  | 1 | 1.832 | 1.6942 | #DIV/0! | #DIV/0!
| 300 mV | 1.3224
Polarization voltage [mV]
100
Before: 300 mV
H2O2 production calibrated to 1st calibration (before adding cells)
Data from calibration 1: H2O2
DatLab 6 | PCP Mark Reference: |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
Copy Amp from the DatLab (calibration 1)
2015-08-10 P2-02_CELLS_H2O2.DLD
| Averages | Unit | Before | Routine | Dig | PM_L | PM_P | PGM_P
| Value |  | 0 | 0 | 0 | 0 | 0 | 0
| Start |  | 0:37 | 0:47 | 0:54 | 1:09 | 1:14 | 1:24
| Stop |  | 0:40 | 0:48 | 0:56 | 1:12 | 1:16 | 1:25
| N Points |  | 106 | 18 | 75 | 67 | 64 | 42
| 2A: Amp | µM | 0.3781 | 0.3197 | 0.4916 | 1.1291 | 1.0123 | 1.3002
X | 2A: Amp Slope | pmol/(s*ml) | 0.343 | 0.3495 | 0.3654 | 0.2876 | 0.3517 | 0.3342
|  |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
H2O2 production corrected for sensitivity decline. Check M13 values in Analysis_A_AmR |  |  | 0.343 | 0.3495 | 0.66942 | 0.52689 | 0.59584 | 0.56619
Normalized per million cells
Conc. |  |  |  | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
1.5∙106/ml |  |  |  | 0.233 | 0.44628 | 0.35126 | 0.39723 | 0.37746
Conc./ml
1.5 | Sample concentration/chamber
Corrected for ROUTINE rate |  |  |  | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
|  |  |  | 0 | 0.21328 | 0.11826 | 0.16423 | 0.14446

## O2_Channel&Results_B
IOC100 |  | Exp. | Sample | Conc. | Condition | Medium | Info | DatLab 6 | PCP Mark Reference: |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
2015-08-10 P2-02_CELLS_H2O2.DLD | 2B: O2 Flux per V | IOC104 | HEK 293T cells | 1.5∙106/ml | cells, Cryopreservation | MiR05
|  |  |  | Conc. Mill/ml |  |  |  | Copy only O2 values from DatLab. Chamber B
|  |  |  | 1.5 |  |  |  | 2015-08-10 P2-02_CELLS_H2O2.DLD
O2k right | [8 empty] | Averages | Unit | Before | Routine | Dig | PM_L | PM_P | PGM_P
Paste DatLab graph here, reduce to width 15 cm (6 inches) | [8 empty] | Value |  | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | Start |  | 0:36 | 0:45 | 0:53 | 1:09 | 1:15 | 1:23
[9 empty] | Stop |  | 0:41 | 0:48 | 0:56 | 1:12 | 1:17 | 1:26 |  |  |  |  | Edit: select cells
[9 empty] | N Points |  | 2976:00 | 76 | 83 | 67 | 59 | 63 |  |  |  |  | for reference values
[9 empty] | 2B: O2 Concentration | nmol/ml | 4415:53 | 179.0454 | 174.5734 | 171.2436 | 168.3042 | 164.0558 |  |  |  |  | ETS' | ROX
[8 empty] | X | 2B: O2 Flux per V | pmol/(s*ml) | 22:25 | 14.2876 | 3.0559 | 3.9667 | 8.3373 | 9.1808 |  |  |  |  | 0 | 0
FCR
[23 empty] | Routine | CI | CI | CI&II | CII
[26 empty] | #DIV/0! | #DIV/0! | ETS
[23 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | OXPHOS
ROUTINE, R | ROUTINE state of cell respiration | [7 empty] | O2 Flux per cells | pmol/(s*Mill) |  | 9.5251 | 2.0373 | 2.6445 | 5.5582 | 6.1205 |  |  |  |  | ETS |  |  | #DIV/0! |  |  |  | LEAK
LEAK, L | LEAK state (oligomycin) | [7 empty] | O2 Flux per cells | ROX-corr. |  | 9.5251 | 2.0373 | 2.6445 | 5.5582 | 6.1205 |  |  |  |  | 0 |  |  | PM | PGM | PGMS | S
OXPHOS, P | OXPHOS state (ADP) | [10 empty] | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
ETS, E | Electron transport system (ETS; uncoupled) | [7 empty] | Flux Control Ratio | ROX-corr. |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
ROX | Residual oxygen consumption (rotenone, antimycin A) | [10 empty] | L/P | P/E | [9 empty] | H2O2 production
[12 empty] | 0.47578 | #DIV/0! | [9 empty] | Routine | CI | CI | CI&II | CII
[12 empty] | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama | [7 empty] | ETS
[9 empty] | H2O2 production corrected for sensitivity decline | pmol/(s*Mill) |  | 0.2456 | 0.33504 | 0.33079 | 0.38236 | 0.38204 | [6 empty] | 0.2456 | 0.38236 | 0.38204 |  |  | OXPHOS
ROS production | [8 empty] | H2O2 production (corrected for ROUTINE rate) | pmol/(s*Mill) |  | 0 | 0.089439 | 0.085187 | 0.13676 | 0.13644 | [7 empty] | 0.33079 |  |  |  | LEAK
Amplex Red | [8 empty] | ROS/JO2 | no ROX-corr. |  | 0.01719 | 0.10964 | 0.083391 | 0.045862 | 0.041613 | [7 empty] | PM | PGM | PGMS | S
O2k Amp right | [8 empty] | ROS/JO2 | ROX-corr. |  | 0.025785 | 0.16446 | 0.12509 | 0.068792 | 0.062419
Paste DatLab graph here, reduce to width 15 cm (6 inches) | [8 empty] | ROS/JO2 (corrected for ROUTINE rate) | no ROX-corr. |  | 0 | 0.029268 | 0.021476 | 0.016404 | 0.014861
H2O2 production / O2
[23 empty] | Routine | CI | CI | CI&II | CII
ETS
[23 empty] | 0.025785 | 0.068792 | 0.062419 |  |  | OXPHOS
[24 empty] | 0.12509 |  |  |  | LEAK
[24 empty] | PM | PGM | PGMS | S

## Amp_Channel_B
Chamber B. Amp
Sensitivity [V/mM] | [8 empty] | Correction factor
|  | Before cells | Dig | ADP | U | Ama |  |  | Before cells | Dig | ADP | U | Ama
Copy the sensitivity from the DatLab (from each H2O2 calibration) | 100 mV | 0.3534 | 0.2438 | 0.2172 |  |  |  |  | 1 | 1.4495 | 1.6271 | #DIV/0! | #DIV/0!
| 300 mV | 0.9843
Polarization voltage [mV]
100
Before: 300 mV
H2O2 production calibrated to 1st calibration (before adding cells)
Data from calibration 1: H2O2
DatLab 6 | PCP Mark Reference: |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
Copy Amp from the DatLab (calibration 1)
2015-08-10 P2-02_CELLS_H2O2.DLD
| Averages | Unit | Before | Routine | Dig | PM_L | PM_P | PGM_P
| Value |  | 0 | 0 | 0 | 0 | 0 | 0
| Start |  | 0:36 | 0:45 | 0:53 | 1:09 | 1:15 | 1:23
| Stop |  | 0:41 | 0:47 | 0:56 | 1:12 | 1:17 | 1:25
| N Points |  | 124 | 67 | 83 | 67 | 51 | 61
| 2B: Amp | µM | 0.3839 | 0.2688 | 0.4584 | 0.9869 | 0.9226 | 1.174
X | 2B: Amp Slope | pmol/(s*ml) | 0.3506 | 0.3684 | 0.3467 | 0.3423 | 0.3525 | 0.3522
|  |  | Before cells | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
H2O2 production corrected for sensitivity decline. Check M13 values in Analysis_A_AmR |  |  | 0.3506 | 0.3684 | 0.50256 | 0.49618 | 0.57354 | 0.57305
Normalized per million cells
Conc. |  |  |  | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
1.5∙106/ml |  |  |  | 0.2456 | 0.33504 | 0.33079 | 0.38236 | 0.38204
Conc./ml
1.5 | Sample concentration/chamber
Corrected for ROUTINE rate |  |  |  | Routine | Dig | PM_L | PM_P | PMG_P | PMGS_P | PMGS_E | S(Rot)_E | Ama
|  |  |  | 0 | 0.089439 | 0.085187 | 0.13676 | 0.13644